## Price Schedule
ANNEXURE I
Schedule for Items (BOQ)
Rate to be quoted as per BOQ given below:
Strengthening of electrical infrastructure in elephant corridor & movement area under Chainpal, Angul & Dhenkanal Division (Tender No.: TPCODL/P&S/2025-26/ 1000002493)
Sl. No. | Item Description | Unit | Qty | Unit Rate (Excl. GST) (In Rs.) | GST on Unit Price (In Rs.) | Unit Rate (Incl. GST) (In Rs.) | Total Amount (In Rs.)
a | b | c | d | e | f | g= e+f | h= dxg
Supply
1 | Supply of 9 Mtr. long 300 Kg PSC Pole | No | 1858
2 | Supply of 11 KV V cross Arm (10.2 Kg each ) (GI) | No | 1731
3 | Supply of Top bracket 100x50X6 mm GI Channel (2 Kg each) | No | 1731
4 | Supply of Back Clamp for 11 KV V Cross Arm (GI) 0.85 Kg each | Kg | 1471.35
5 | Supply of 11 KV Pin Insulator Polymer, 3 Nos required for each support | No | 5574
6 | Supply of Danger Plate, 1 no for each pole | No | 1858
7 | Supply of Straight Cross Arm 100X50X6mm, 9.56 Kg/Mtr., each Channel length 1.2 mtr., 2 no's channel required =( 2x9.56x1.2) (GI) | Kg | 2913.88
8 | Supply of Fish Plate 50x6 mm., 2.36 Kg/Mtr., each 0.280 mtr. length, 8 no's required = (8x2.36x0.280) (GI) | Kg | 671.32
9 | Supply of Straight Cross Arm Top Channel 100 x 50 x 6 mm, 9.56 KG/mtr, each channel length 0.306 Mtr., 2 No's of Channel = (2x 9.56x0.306) (GI) | Kg | 742.95
10 | Supply of Back Clamp for Danger Plate 25X3 mm flat, 0.59Kg/Mtr. Flat of 0.510mtr length 1 no's = (1x0.59x0.510) (GI) | Kg | 557.4
11 | Supply of GI barbed wire anticlimbing device 3 Kg. Per support | Kg | 9144
12 | Supply of Back Clamp for Anticlimbing Device 25X3 mm. flat, 0.59Kg/Mtr. Flat of 0.510 mtr length 4 no's = (4x0.59x0.510) (GI) | Kg | 3668.57
13 | Supply of Spike (GI ) (using 50x6mm Flat welded with 8 mm square bar) ( 1 No = 2 Half, 2 Nos of spike per Set in each Pole ) | No | 6096
14 | Supply of Non Metallic Ties 11KV (For covered conductor) | No | 11451
15 | Supply of Earthing of Support ( Coil Type ) | No | 1858
16 | Supply of No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 486.79
17 | Supply of GI Nut, Bolt & Washer of different sizes (1.45 Kg/ Pin point & 4.879 Kg per Cut point ) | Kg | 3129.58
18 | Supply of Black Paint | Ltr | 1858
19 | Supply of Yellow Colour Paint for Background | Ltr | 3716
20 | Supply of H.T. Stay clamp, 50x8 mm. flat, 3.14Kg/Mtr., 0.551 Mtr. Length, 2 no's qty. required ( 1 Pair) (GI) | Pair | 232
21 | Supply of H.T. Stay Set (Complete) | Set | 232
22 | Supply of H.T. Stay Insulator Type-C | No | 464
23 | Supply of 7/10 SWG Stay Wire 10kg /stay | Kg | 2320
24 | Supply of Extension Channel 100X50X6mm, 9.56 KG/Mtr., each channel length 1.5 mtr.,( 1x9.56x1.5 =14.34Kg.) (GI) | Kg | 26576.2
25 | Supply of IPC for 70 /99 sq.mm AAA conductor (For covered conductor) | No | 762
26 | Supply of H W fitting (B&S) 70KN, 3 Bolt (For covered conductor) | No | 1062
27 | Supply of Disc insulator (B&S) 70 KN polymer (For covered conductor) | No | 1062
28 | Supply of 70 sq.mm 11kV XLPE Covered Conductor | Km | 228.2
29 | Supply of Crimping type Midspan Compression Joint for 70 sq.mm AAA conductor (For 11 KV covered conductor) | No | 222
30 | Supply of 99 sq.mm 11kV XLPE Covered Conductor | Km | 13.91
31 | Supply of Crimping type Midspan Compression Joint for 99sq.mm AAA conductor (For 11 KV covered conductor) | No | 14
Service / Erection
1 | Erection of 9 Mtr. long 300 Kg PSC Pole | No | 1858
2 | Erection of 11 KV V cross Arm (10.2 Kg each ) (GI) | No | 1731
3 | Erection of Top bracket 100x50X6 mm GI channel (2 Kg each) | No | 1731
4 | Erection of Back Clamp for 11 KV V cross Arm (GI) 0.85 Kg each | Kg | 1471.35
5 | Erection of 11 KV Pin Insulator Polymer, 3 Nos required for each support | No | 5574
6 | Erection of Danger Plate, 1 no for each pole | No | 1858
7 | Erection of Straight Cross Arm 100X50X6mm, 9.56 Kg/Mtr., each Channel length 1.2 mtr., 2 no's channel required =( 2x9.56x1.2) (GI) | Kg | 2913.88
8 | Erection of Fish Plate 50x6 mm., 2.36 Kg/Mtr., each 0.280 mtr. length, 8 no's required = (8x2.36x0.280) (GI) | Kg | 671.32
9 | Erection of Straight Cross Arm Top Channel 100 x 50 x 6 mm, 9.56 KG/mtr, each channel length 0.306 Mtr., 2 No's of Channel = (2x 9.56x0.306) (GI) | Kg | 742.95
10 | Erection of Back Clamp for Danger Plate 25X3 mm flat, 0.59Kg/Mtr. Flat of 0.510mtr length 1 no's = (1x0.59x0.510) (GI) | Kg | 557.4
11 | Erection of GI barbed wire anticlimbing device 3 Kg. Per support | Kg | 9144
12 | Erection of Back Clamp for Anticlimbing Device 25X3 mm. flat, 0.59Kg/Mtr. Flat of 0.510 mtr length 4 no's = (4x0.59x0.510) (GI) | Kg | 3668.57
13 | Erection of Spike (GI ) (using 50x6mm Flat welded with 8 mm square bar) ( 1 No = 2 Half, 2 Nos of spike per Set in each Pole ) Two halfs should be welded. | No | 6096
14 | Erection of Non Metallic Ties 11KV (For covered conductor) | No | 11451
15 | Erection of Earthing of Support ( Coil Type ) | No | 1858
16 | Erection of No-8 GI wire (Dia 4.6mm) 0.131 KG/ Mtr.- 2 Mtr. For connecting pole with Coil earthing | Kg | 486.79
17 | Erection of GI Nut, Bolt & Washer of different sizes (1.45 Kg/ Pin point & 4.879 Kg per Cut point ) | Kg | 3129.58
18 | Erection of Black Paint (GIS Numbering & Zebra Stripping) | Ltr | 1858
19 | Erection of Yellow Colour Paint (GIS Numbering & Zebra Stripping) for Background | Ltr | 3716
20 | Erection of Extension Channel 100X50X6mm, 9.56 KG/Mtr., each channel length 1.5 mtr.,( 1x9.56x1.5 =14.34Kg.) (GI) | Kg | 26576.2
21 | Erection of IPC for 70 /99 sq.mm AAA conductor (For covered conductor) | No | 762
22 | Erection of H W fitting (B&S) 70KN, 3 Bolt (For covered conductor) | No | 1062
23 | Erection of Disc insulator (B&S) 70 KN polymer (For covered conductor) | No | 1062
24 | Erection of 70 sq.mm 11kV XLPE Covered Conductor | Km | 228.2
25 | Erection of Crimping type Midspan Compression Joint for 70 sq.mm AAA conductor (For 11 KV covered conductor) | No | 222
26 | Erection of 99 sq.mm 11kV XLPE Covered Conductor | Km | 13.91
27 | Erection of Crimping type Midspan Compression Joint for 99sq.mm AAA conductor (For 11 KV covered conductor) | No | 14
28 | Supply & Erection for DT fencing with GI barbed wire of size (3mtrx3mtrx1.5 mtr ) with MS Grill Gate (1mtr(w) x 1.5 mtr (ht)) as per Drawing with concreting of RCC posts | EA | 447
29 | Concreting of pole : Concreting ratio 1:1.5:3 (500mmX500mmX1800mm) = 0.45Cu.mtr (M20 Grade) | Cum | 1722.15
30 | Coping of pole : Concrete ratio 1:1.5:3 with dimension ( 500X500X 450)= 0.1125 Cu mtr (M20 Grade) | Cum | 430.54
31 | Fixing of complete 11KV line Complete stay set includes 1) Turn Buckle Assembly 2) Stay Rod & Stay plate 3) Stay Insulator 4) Stay Wire. 5)Stay clamps with Nuts & bolts. The BA will do the excavation including supply of 0.5Cum cement concrete foundation 1:2:4 size ( 500mmx500mmx 800mm) using 20mm BHG metal with all labour and material as per specification | No | 232
32 | Dismantling of existing 11 KV overhead bare conductor and return to TPCODL Scrap store | Ckt Km | 78.35
Total
Figures : Rupees ………………………………………………………………………………………………………………….Only
• Price shall be quoted considering item description, technical specification and approved make as specified in the tender.
• The bidders are advised to quote prices strictly in the above format. Failing to do so, bids are liable for rejection.
• Bidder should quote as per the "Item description" column. No cutting/ overwriting in the prices is permissible.
• Mentioning “extra/inclusive” in any of the column may lead for rejection of the price bid.
• Unit price of the price bid shall be considered from the bidder quotation and other than unit price viz items description, unit, qty, etc shall be consider as per the tender price schedule format.
• The bids will be evaluated commercially on the overall all-inclusive price of tender BOQ as above.
• All materials shall be supplied and erected by the BA turnkey basis.
• The unit price should be inclusive of freight, insurance and other levies (if any) and exclusive of GST. GST to be mentioned separately. Total price shall be inclusive of all.
· There shall be no price variation during the Contract Period / Extended Contract Period.
Signature & Seal of the Bidder